Friedrich Haug, 2005.9.27

MERIT

Situation on the Cryogenics Part

Proximity equipment

1) DVB valve box (“distribution valve box”)

Situation:

-Process defined and flow scheme (P&I) terminated with MERIT collaboration

-Preliminary Technical Specification made by CERN-ECR and

handed over to RAL (Aug. 2005)

-RAL adapts document for tendering according their rules

-Tendering has started (RAL)…

-RAL has obtained one preliminary quote (AS Scientific)

-This quote seems to be quite high !!!

Proposal: We wait for further quotes as we should not make any decision dependent on one quote. A list of a number of European firms capable to supply the box are given below.

2) remaining DVB Instrumentation			no news

3) vacuum pump for insulation vacua			exists

4) el. heater system					to be build (ECR)

----------------------------------

List of firms for the potential supply of the DVB valve box (as sent to RAL today)

Added are  my  comments what I personally know about these companies;

1)	AS Scientific		UK	(You have a quote from these guys. Good company for transfer lines. Have built many for us including complex ones)

2)	Wessington		UK	(They have built a number of 500 l dewars for our group and other dewars in the past. Usually cheap company, but really o.k. May require some supervision. Good will people.)

3) 	Demaco		NL	(Good company. Have built many transfer lines for our group.  And a valve box with internal liquid argon vessel comprising LN2 cooling pipes. This valve box is quite more complicated than the MERIT one)

4) 	Messer-Griesheim	D	(Good company. However, may not be interested as our box too small, money-wise. They like large projects. But you may try)

5) 	Rial Vacuum		I	(I do not know them, but always worth a try. As soon as I get a feedback from colleagues I let you know)

6)	Air Liquide Italy	I	(operates largely  independent  from the French Air Liquide. Italy seems to be o.k. They have built the ATLAS proximity cryo)

7)	SNLS			FR	(I have good feedback from colleagues. Seems to be o.k.)

8)	Cryo Diffusion		FR	(Is a traditional company in the north of France. I remember good quality dewars in the old times)

End of list

-----------------------------------------------------

Intermediate Infrastructure

1) transfer line for cooling and filling			no news

2) exhaust for warm nitrogen gas (to TT10)	dimensioned, ECR has similar installation currently for ATLAS

External Infrastructure

1) LN2 reservoir next to vertical shaft (rental)

2) Concrete Platform to be constructed		CERN site manager informed

Instrumentation of Infrastructure 			for later

Process Control					for later

We shall provide

-hardware system

-software (engineer for programming/commissioning  can be made available)

Radiation Hard Instrumentation (or not?)

We require information on the radiation background in order to estimate if the instrumentation may be upset by ionization or SEE.

Safety

1) ODH and warning	systems			for later

Installation 						for later

Installation manpower will be made available by ECR and work organized.

Friedrich Haug, 27.9.2005