## Slide 1
MERIT Autoradiographs
P. Thieberger, BNL
(Dec. 21, 2011)

## Slide 3
Fit of the vertical beam profile on the round window with two Gaussians of equal widths.
The calibration is 200 pixels per inch.

## Slide 4
Gaussian fit to the horizontal beam profile on the round window
Peak position -9.4 mm
Amplitude 133.3 intensity units
Sigma 4.1 mm
Base 35.5 intensity units
Slope -0.63 intensity units/mm

## Slide 5
Beam spot looking upstream, as the auto-radiography was recorded

## Slide 6
Beam spot looking downstream. The white border of the Polaroid film prevented the recording of the upper tail of the profile

## Slide 7: Fitted beam profiles
Horizontal
Vertical